## cable
Index | ID | FromBus | ToBus | CableLengthUnit | InService | InServiceState | LengthValue | OhmsPerLengthUnit | OhmsPerLengthValue | RPosValue | RZeroValue | XPosValue | XZeroValue | YPosValue | YZeroValue
1 | Cable1 | Bus_2 | Bus_1 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
2 | Cable2 | Bus_3 | Bus_2 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
3 | Cable3 | Bus_4 | Bus_3 | 2 | true | As-Built | 500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
4 | Cable4 | Bus_5 | Bus_4 | 2 | true | As-Built | 2000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
5 | Cable5 | Bus_5 | Bus_6 | 2 | true | As-Built | 3000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
6 | Cable6 | Bus_6 | Bus_7 | 2 | true | As-Built | 1200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
7 | Cable7 | Bus_7 | Bus_8 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
8 | Cable8 | Bus_9 | Bus_5 | 2 | true | As-Built | 750 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
9 | Cable9 | Bus_10 | Bus_9 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
10 | Cable10 | Bus_10 | Bus_11 | 2 | true | As-Built | 200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
11 | Cable11 | Bus_11 | Bus_12 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
12 | Cable12 | Bus_12 | Bus_13 | 2 | true | As-Built | 400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
13 | Cable13 | Bus_13 | Bus_14 | 2 | true | As-Built | 1080 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
14 | Cable14 | Bus_15 | Bus_11 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
15 | Cable59 | Bus_16 | Bus_15 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
16 | Cable15 | Bus_17 | Bus_16 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
17 | Cable16 | Bus_18 | Bus_17 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
18 | Cable62 | Bus_19 | Bus_18 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
19 | Cable63 | Bus_20 | Bus_19 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
20 | Cable72 | Bus_21 | Bus_18 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
21 | Cable65 | Bus_22 | Bus_23 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
22 | Cable64 | Bus_23 | Bus_24 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
23 | Cable17 | Bus_24 | Bus_19 | 2 | true | As-Built | 2100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
24 | Cable66 | Bus_25 | Bus_23 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
25 | Cable67 | Bus_26 | Bus_25 | 2 | true | As-Built | 1080 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
26 | Cable68 | Bus_27 | Bus_25 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
27 | Cable69 | Bus_28 | Bus_27 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
28 | Cable70 | Bus_29 | Bus_27 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
29 | Cable61 | Bus_30 | Bus_29 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0270000007 | 0 | 0
30 | Cable71 | Bus_31 | Bus_29 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
31 | Cable20 | Bus_32 | Bus_31 | 2 | true | As-Built | 120 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
32 | Cable21 | Bus_32 | Bus_33 | 2 | true | As-Built | 2000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
33 | Cable22 | Bus_33 | Bus_34 | 2 | true | As-Built | 1320 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
34 | Cable23 | Bus_34 | Bus_35 | 2 | true | As-Built | 1650 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
35 | Cable24 | Bus_35 | Bus_36 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
36 | Cable25 | Bus_37 | Bus_36 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
37 | Cable26 | Bus_36 | Bus_38 | 2 | true | As-Built | 950 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
38 | Cable27 | Bus_38 | Bus_39 | 2 | true | As-Built | 1800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
39 | Cable58 | Bus_35 | Bus_40 | 2 | true | As-Built | 2500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
40 | Cable56 | Bus_40 | Bus_41 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
41 | Cable55 | Bus_41 | Bus_42 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
42 | Cable54 | Bus_42 | Bus_43 | 2 | true | As-Built | 1400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
43 | Cable53 | Bus_43 | Bus_44 | 2 | true | As-Built | 950 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
44 | Cable52 | Bus_44 | Bus_45 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
45 | Cable50 | Bus_45 | Bus_46 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0900000036 | 0 | 0
46 | Cable43 | Bus_46 | Bus_47 | 2 | true | As-Built | 190 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
47 | Cable42 | Bus_47 | Bus_48 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
48 | Cable41 | Bus_48 | Bus_49 | 2 | true | As-Built | 1160 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
49 | Cable39 | Bus_49 | Bus_50 | 2 | true | As-Built | 450 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
50 | Cable37 | Bus_51 | Bus_50 | 2 | true | As-Built | 1405 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
51 | Cable36 | Bus_52 | Bus_51 | 2 | true | As-Built | 970 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0900000036 | 0 | 0
52 | Cable35 | Bus_53 | Bus_52 | 2 | true | As-Built | 1180 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
53 | Cable34 | Bus_54 | Bus_53 | 2 | true | As-Built | 1200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
54 | Cable33 | Bus_55 | Bus_54 | 2 | true | As-Built | 1360 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
55 | Cable32 | Bus_56 | Bus_55 | 2 | true | As-Built | 1400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
56 | Cable31 | Bus_57 | Bus_56 | 2 | true | As-Built | 1130 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
57 | Cable30 | Bus_58 | Bus_57 | 2 | true | As-Built | 1360 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
58 | Cable29 | Bus_59 | Bus_58 | 2 | true | As-Built | 900 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
59 | Cable28 | Bus_60 | Bus_59 | 2 | true | As-Built | 1700 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
60 | Cable38 | Bus_53 | Bus_61 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
61 | Cable40 | Bus_49 | Bus_51 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
62 | Cable51 | Bus_62 | Bus_45 | 2 | true | As-Built | 1450 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
63 | Cable49 | Bus_63 | Bus_62 | 2 | true | As-Built | 1150 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
64 | Cable45 | Bus_64 | Bus_63 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
65 | Cable44 | Bus_65 | Bus_64 | 2 | true | As-Built | 200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
66 | Cable46 | Bus_63 | Bus_66 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
67 | Cable47 | Bus_66 | Bus_67 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
68 | Cable48 | Bus_67 | Bus_68 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
69 | Cable57 | Bus_69 | Bus_41 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
70 | Cable60 | Bus_70 | Bus_16 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
71 | Cable18 |  |  | 0 | true | As-Built | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0
72 | Cable19 |  |  | 0 | true | As-Built | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0

## xline
Index | ID | ExtRef | FixedLoc | OtiGUID | CloneGuid | UseElementColor | Hidden | MetafileName | Orientation | SymbolSize | SymbolType | ServiceState | InheritedState | FromBus | ToBus | ID | IID | InService | InServiceState | Length | LengthUnit | PerLength | PerLengthUnit | RPos | RZero | XPos | XZero | YPos | YZero

## bus
Index | ID | OpVMag | OpVAng | UserDefinedPDGUID | InService | ServiceState | Area | AsymmRMS | BasekV | BusReferenceName | NominalkV | VMag | VMaxLimit | VMinLimit | Zone
1 | Bus_1 | 99.999946594 | 6.5530657594e-05 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
2 | Bus_2 | 98.5651245 | 0.197909728 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
3 | Bus_3 | 97.1315155 | 0.401596546 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
4 | Bus_4 | 96.8529129 | 0.306946069 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
5 | Bus_5 | 94.4161377 | 0.640870094 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
6 | Bus_6 | 94.0812225 | 0.710090518 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
7 | Bus_7 | 94.0812225 | 0.710090518 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
8 | Bus_8 | 94.0812225 | 0.710090518 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
9 | Bus_9 | 94.0822296 | 0.519215643 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
10 | Bus_10 | 93.8006897 | 0.401414156 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
11 | Bus_11 | 93.7444229 | 0.377768993 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
12 | Bus_12 | 93.6999893 | 0.365382254 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
13 | Bus_13 | 93.6936874 | 0.363624305 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
14 | Bus_14 | 93.6936874 | 0.363624305 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
15 | Bus_15 | 93.4929504 | 0.267430007 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
16 | Bus_16 | 93.1665649 | 0.12309961 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
17 | Bus_17 | 92.8908539 | 0.000182318938 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
18 | Bus_18 | 92.5413589 | -0.165451795 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
19 | Bus_19 | 92.3591995 | -0.264542699 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
20 | Bus_20 | 92.3591995 | -0.264542699 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
21 | Bus_21 | 92.5527115 | -0.161438063 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
22 | Bus_22 | 91.8473434 | -0.545909941 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
23 | Bus_23 | 91.8473434 | -0.545909941 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
24 | Bus_24 | 92.0122147 | -0.454804391 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
25 | Bus_25 | 91.6004715 | -0.683182716 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
26 | Bus_26 | 91.6004715 | -0.683182716 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
27 | Bus_27 | 91.3541183 | -0.821196556 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
28 | Bus_28 | 91.3541183 | -0.821196556 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
29 | Bus_29 | 91.1738052 | -0.922880352 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
30 | Bus_30 | 91.1738052 | -0.922880352 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
31 | Bus_31 | 91.0428543 | -0.997084975 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
32 | Bus_32 | 91.0232239 | -1.00823402 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
33 | Bus_33 | 90.7073517 | -1.19162476 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
34 | Bus_34 | 90.5423203 | -1.30090308 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
35 | Bus_35 | 90.3902359 | -1.42242289 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
36 | Bus_36 | 90.3758545 | -1.42657912 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
37 | Bus_37 | 90.3758545 | -1.42657912 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
38 | Bus_38 | 90.3634415 | -1.4301697 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
39 | Bus_39 | 90.3399048 | -1.43697548 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
40 | Bus_40 | 90.2258301 | -1.58826625 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
41 | Bus_41 | 90.178566 | -1.67796326 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
42 | Bus_42 | 90.1579971 | -1.74814987 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
43 | Bus_43 | 90.156662 | -1.81519425 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
44 | Bus_44 | 90.1558304 | -1.86068976 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
45 | Bus_45 | 90.1744766 | -1.91960502 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
46 | Bus_46 | 90.295372 | -1.92284822 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
47 | Bus_47 | 90.3258514 | -1.92310798 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
48 | Bus_48 | 90.5022736 | -1.92460775 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
49 | Bus_49 | 90.8308792 | -1.88516545 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
50 | Bus_50 | 90.8513412 | -1.88810778 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
51 | Bus_51 | 91.200676 | -1.81547654 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
52 | Bus_52 | 91.7180176 | -1.71431065 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
53 | Bus_53 | 92.4580078 | -1.56177747 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
54 | Bus_54 | 93.2112122 | -1.40914381 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
55 | Bus_55 | 94.108757 | -1.2272296 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
56 | Bus_56 | 95.0798569 | -1.03096819 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
57 | Bus_57 | 96.1256866 | -0.804962516 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
58 | Bus_58 | 97.430275 | -0.527751625 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
59 | Bus_59 | 98.3093948 | -0.344511449 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
60 | Bus_60 | 99.9999313 | -0.000167105711 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
61 | Bus_61 | 92.4580078 | -1.56177747 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
62 | Bus_62 | 89.9754791 | -1.97711182 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
63 | Bus_63 | 89.8583298 | -2.01106381 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
64 | Bus_64 | 89.834671 | -2.01794648 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
65 | Bus_65 | 89.834671 | -2.01794648 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
66 | Bus_66 | 89.7520599 | -2.04192042 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
67 | Bus_67 | 89.6599808 | -2.06872225 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
68 | Bus_68 | 89.6019821 | -2.08562732 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
69 | Bus_69 | 90.1601181 | -1.68330979 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
70 | Bus_70 | 93.1665649 | 0.12309961 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
71 | Bus_71 | 0 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 0 | 100 | 105 | 90 | 1
72 | Bus_72 | 0 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
73 | Bus_73 | 0 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1

## xform2w
Index | ID | AnsiMaxMVA | AnsiMVA | AnsiPosXR | AnsiPosZ | AnsiZeroXoverR | AnsiZeroZ | Buried | VectorOrWinding | PrimConnectionButton | SecConnectionButton | PrimNeutralConn | SecNeutralConn | CenterTap | PrimPercentTap | SecPercentTap | PrimMaxPercentFixedTap | PrimMinPercentFixedTap | SecMaxPercentFixedTap | SecMinPercentFixedTap | PhaseShiftHL | PhaseShiftPS | PhaseShiftType | FromBus | ToBus | InService | InServiceState | PrimkV | SeckV | ZBaseMVA

## xform3w
Index | ID | InService | InServiceState | PrimaryBus | SecondaryBus | TeritiaryBus | PrimkV | SeckV | TerkV | PrimPercentTap | SecPercentTap | TerPercentTap | PrimkVA | SeckVA | TerkVA | PSPosZ | PSPosXoverR | PTPosZ | PTPosXoverR | STPosZ | STZeroXoverR

## util
Index | ID | OpVAng | OpVMag | OpMW | OpMvar | VoltagePercent0 | VoltagePercent1 | VoltagePercent2 | VoltagePercent3 | VoltagePercent4 | VoltagePercent5 | VoltagePercent6 | VoltagePercent7 | VoltagePercent8 | VoltagePercent9 | BalancedRadio | Bus | EarthingType | GroundingConnection | InService | InServiceState | kAsc1p | kAsc3p | KV | MaxQ | MinQ | Mvar | MW | NegR | NegX | OnePhase | OnePhaseXoverR | Phase | PhaseType | PosR | PosX | ThreePhase | ThreePhaseXoverR | TypeOfUtility | VoltageAngle | VoltageMagnitude | ZeroR | ZeroX | PdeStatus
1 | U2 | 0 | 100 | 7806.89746 | 5903.29541 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_60 | 0 | 0 | true | As-Built | 40.8248291 | 40.8248291 | 10 | 0 | 0 | 0 | 0 | 10 | 10 | 707106.812 | 1 | 0 | 5 | 10 | 10 | 707106.812 | 1 | 0 | 0 | 100 | 10 | 10 | Swing
2 | U1 | 0 | 100 | 5690.04883 | 2804.14185 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_1 | 0 | 0 | true | As-Built | 40.8248291 | 40.8248291 | 10 | 0 | 0 | 0 | 0 | 10 | 10 | 707106.812 | 1 | 0 | 5 | 10 | 10 | 707106.812 | 1 | 0 | 0 | 100 | 10 | 10 | Swing

## syngen
Index | ID | Bus | CalcFromCapability | CompoundExc | CouplerRpm | CouplerWR2 | Damping | Efficency | Eqp | ExcWithstandLimit | ExcWithstandTime | GenerationCategory | GostScExciterType | IecExcitationType | Ikp | IncludePFMvarController | Inertia | InService | InServiceState | KV | LoadRpm | LoadWR2 | MachineType | MachineWR2 | MVA | MW | PG | PlotI2t | PlotShortTime | Poles | PowerFactor | PrimConnectionButton | PrimEarthingType | PrimGroundingType | PrimNeutralConn | RadioButtons | RatedLifeTime | RdcPercent | ReactivePower | RealPower | RPM | S100 | S120 | Sbreak | ScExciterType | ScGenType | TDoublePrimeD0 | TDoublePrimeQ0 | TPrimeD0 | TPrimeQ0 | TypeOfGenerator | VoltageAngle | VoltageMagnitude | X0 | X1 | X2 | Xd | XdDoublePrime | XdPrime | XOverR | XOverR0 | XOverR2 | Xq | XqDoublePrime | XqPrime | XTolerance | PdeStatus

## pvarray
Index | ID | Bus | BVmpp | BVmppTemp | AIscTemp | BVoc | BVocTemp | DCGrounded | DCGroundR | DeltaIrradiance | EarthingType | ExternalL | ExternalR | GenerationCategory | Impp | ImpUD | InService | InServiceState | InverterIncluded | Isc | IscUD | Issue | LibModified | MppTracker | NOCTemp | NumPanelParallel | NumPanelSeries | PhaseType | PVAPower | PVAPowerTol | RevCtrl | Revision | SCModel | ValidEquipmentCable | Vmpp | VmpUD | Voc | VocUD | OutServiceYear | ProfileSector | PVAMFR | PVAModel | PVANumCells | PVASize | PVAType | PVAVDC | SingleYearForecastOpt | UniformScalePQ | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | PVA1 | Bus_dc1 | 0 | 0 | 0.0548 | 0 | -0.362399995 | 0 | 0 | 0.0500000007 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAAyEEBAHtCUnftQoQDAAAAAPBBZ+Z/QvtK0UIgAwAAAADwQc3McEKS6rhCvAIAAAAA8EE0s2FCW7CgQlgCAAAAAPBBmplSQtahiEL0AQAAAADwQQCAQ0KyjGFCkAEAAAAA8EFmZjRCdlAyQiwBAAAAAPBBzUwlQkGuA0LIAAAAAADwQTMzFkJZtqtBZAAAAAAA8EGaGQdCPRwlQQ | 7.30000019 | 0 | true | As-Built | 0 | 7.96000004 | 0 | 0 | 0 | 0 | 50.2000008 | 20 | 27 | 0 | 219.876007 | 0 | 0 | 0 | 0 | 0 | 30.1200008 | 0 | 36.0600014 | 0 | 2045/1/1 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.0030000000000000001 | 200 | 0 | 0.000136970004 | 43.7999992 | 0.0030000000000000001 | 10 | 0 | 200

## lumpedload
Index | ID | OpMW | OpMvar | OpMWStLd | OpMvarStLd | GroundingAmp | GroundingOhm | GroundingType | Bus | InService | InServiceState | KV | LRC | ModelType | MotorLoadPercent | MTLoadPercent | MVA | NeutralConn | PercentTotalLoad | PF | Phase | PhaseA_MVA | PhaseB_MVA | PhaseC_MVA | PhaseConnection | StaticLoadPercent | TdP | X | XdP | XOverR | XP | XPP | PdeStatus | BasekV | LoadType | OutServiceYear | PhaseA_Amp | PhaseA_PF | PhaseB_Amp | PhaseB_PF | PhaseC_Amp | PhaseC_PF | Priority | ProfileSector | SingleYearForecastOpt | Ta | UDBasekV | UniformScalePQ | WR | DataStream | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | Lump3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_6 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 470 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
2 | Lump6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_13 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 150 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
3 | Lump5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_12 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 132 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
4 | Lump14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_39 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 120 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
5 | Lump34 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_59 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
6 | Lump33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_58 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
7 | Lump32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_57 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
8 | Lump31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_56 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 2230 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
9 | Lump30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_55 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
10 | Lump29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_54 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
11 | Lump28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_52 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 870 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
12 | Lump27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_50 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1875 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
13 | Lump26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_49 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 430 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
14 | Lump25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_48 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
15 | Lump24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_46 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 85 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
16 | Lump21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_64 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
17 | Lump23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_68 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 330 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
18 | Lump22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_67 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
19 | Lump20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_63 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 123 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
20 | Lump19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_62 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 323 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
21 | Lump18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_44 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 134 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
22 | Lump17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_42 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
23 | Lump15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_37 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
24 | Lump16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_40 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 330 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
25 | Lump13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_35 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 120 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
26 | Lump12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_34 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
27 | Lump11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_33 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
28 | Lump10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_32 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 50 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
29 | Lump8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_18 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 600 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
30 | Lump7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_17 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
31 | Lump4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_9 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1560 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
32 | Lump2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_4 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 630 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
33 | Lump1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus_3 | true | As-Built | 10 | 600 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 50 | 6.67000008 | 25 | 16.666666 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
34 | Lump9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | true | As-Built | 10 | 650 | Conventional | 80 | 80 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50

## capacitor
Index | ID | OpMW | OpMvar | InService | InServiceState | InterDF | Phase | PhaseConnection | PdeStatus | CurrentLowerBand | CurrentSwitchInValue | CurrentSwitchOutValue | CurrentUpperBand | StepsPerBank | TimeDelayType | VoltageCtrlUnit | VoltageLowerBand | VoltageSwitchInValue | VoltageSwitchOutValue | VoltageUpperBand | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## mgset
Index | ID | KV | MVA | X1 | Xdu | Xq | XqP | XqPP | Xqu | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## hvcb
Index | ID | FromElement | ToElement | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | PdeStatus | ReplaceTime | SpareAvail | SwitchTime

## dcbus
Index | ID | InService | InServiceState | MaxLoadFactor | MinLoadFactor | NominalV | PhaseType | WireType | aCoefficient | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength
1 | Bus_dc1 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Bus_dc2 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | Bus_dc3 | true | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dcimpedance
Index | ID | FromBus | IID | InService | InServiceState | RValue | LValue | ToBus | PhaseType | WireType | FailureRate | MomentaryRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength
1 | dcZ1 | Bus_dc1 | 3222 | true | As-Built | 0.0599999987 | 0 | Bus_dc2 | 0 | 1 | 0 | 80 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | dcZ2 | Bus_dc3 | 3234 | true | As-Built | 0.0599999987 | 0 | Bus_dc1 | 0 | 1 | 0 | 80 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dclumpload
Index | ID | DCV | InService | InServiceState | KFactor | KW | MTLoadPercent | Bus | StaticLoadPercent | PhaseType | ProfileSector | SingleYearForecastOpt | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UniformScalePQ

## dcconverter
Index | ID | IMaxPercent | InputBus | InputPhaseType | InputTerminalType | InputV | InService | InServiceState | KW | OutputBus | OutputPhaseType | OutputTap | OutputTerminalType | OutputV | PercentEFF | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## dccb
Index | ID | FromBus | ToBus | FailureRate | MTTR | OutageRate | OutageTime | PdeStatus | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## inverter
Index | ID | OpAcKw | OpAcKvar | OpAcKv | OpAcAmp | OpDcKw | DckW | DcPercentEFF | DcPercentIMax | DcPhaseType | DcTerminalType | DcV | DcVMax | DcVMin | diDV | EarthingType | GenerationCategory | BusID | CZNetwork | IkPFMax | IkPFMin | IMin | InService | ParentName | InServiceState | KV | GenCat0ACkW | GenCat0kVar | KVA | KVAMax | KvarMax | KWMax | MaxPF | MinPF | MPPTControl | MPPTDCVMax | MPPTDCVMin | MPPTInitialDCV | MPPTNumSteps | MvarLimitsOpt | NegSeqCurrentInjection | NegSeqCurrentLimit | NegSeqDeadbandMin | NegSeqDiDV | PF | Phase | PhaseConnection | PowerFactorOpt | RegulatedVac | SmartInverterOpt | SP3Wire | SpareDF | StaticVarSupportPercentage | VAtIMax | VMaxOp | VMinOp | Vref | VShutOff | PdeStatus | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UserDefPoints
1 | Inv2 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 0 | IP8AAPP/AAAKAAAAAADIQgAAyEIAAAAAAADIQgAAAAAAAEhCAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_20 | Bus_dc1 | 110 | 100 | 100 | false |  | As-Built | 10 | 100 | 50 | 0 | 300 | 0 | 0 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <UserDefPoints><UserDefPQPoints></UserDefPQPoints><UserDefPVPoints><UserDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></UserDefPVPoints><UserDefQVPoints></UserDefQVPoints></UserDefPoints>
2 | Inv1 | 0 | 0 | 0 | 0 | 0 | 300 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAyEIAAAAAAADIQgAAAAAAAEhCAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_21 | Bus_dc2 | 110 | 100 | 100 | true |  | As-Built | 10 | 100 | 50 | 270 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <UserDefPoints><UserDefPQPoints></UserDefPQPoints><UserDefPVPoints><UserDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></UserDefPVPoints><UserDefQVPoints></UserDefQVPoints></UserDefPoints>
3 | Inv3 | 0 | 0 | 0 | 0 | 0 | 300 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAyEIAAAAAAADIQgAAAAAAAEhCAADIQgAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAADAAAAAAAAAAAAVkAAAAAAAABZQAAAAAAAAFZAAAAAAAAAWUAAAAAAAIBaQAAAAAAAAFlAAAAAAACAWkAAAAAAAABZQAAAAAAAgFtAAAAAAAAANEAAAAAAAIBbQAAAAAAAADRAAAAAAA | Bus_22 | Bus_dc3 | 110 | 100 | 100 | false |  | As-Built | 10 | 100 | 50 | 270 | 270 | 270 | 270 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <UserDefPoints><UserDefPQPoints></UserDefPQPoints><UserDefPVPoints><UserDefPVPoint percentVGenerating="88.00" percentPGenerating="100.00" percentVCharging="88.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="106.00" percentPGenerating="100.00" percentVCharging="106.00" percentPCharging="100.00" /><UserDefPVPoint percentVGenerating="110.00" percentPGenerating="20.00" percentVCharging="110.00" percentPCharging="20.00" /></UserDefPVPoints><UserDefQVPoints></UserDefQVPoints></UserDefPoints>

## charger
Index | ID | OpMW | OpMvar | DckW | DcLoadkW | DcPercentIMax | DcPhaseType | DcSmoothL | DcSmoothR | DcTapPercentage | DcTerminalType | DcV | DcVeq | DcVFloat | DcVFloatMax | DcVFloatMin | IAtZeroV | IMin | InService | InServiceState | Iop | Issue | KV | KVA | MVA | Bus | CZNetwork | MVASc | OperatingAlfa | PercentDF | PercentEFF | Phase | PhaseConnection | ScContribution | ScK | SP3Wire | SpareDF | SystemR | SystemX | SystemXOverR | UpdateZFromSc | VAtIMax | Xc | XfmrR | XfmrX | PdeStatus | ProfileSector | RectifierMaxV | SCMaxV | SCMfrModelID | SCParameter | SCSpeed | SCStandard | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## battery
Index | ID | BatteryType | DisChargeMethod | Eff | IchargeMax | IdischargeMax | InService | InServiceState | Bus | NrOfCells | NoOfPacks | NrOfStrings | IValue | OperatingSoC | OpGenBusGID | OpGenBusID | OpGenChargeBand | OpGenChargeMW | OpGenDisChargeBand | OpGenDisChargeMW | PhaseType | QValue | Rated | TerminalType | VbatMax | VbatMin | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | ModelID | ModelType
1 | Battery1 | 0 | 1 | 85 | 10 | 20 | true | As-Built | Bus_dc3 | 20 | 20 | 20 | 0 | 0 | 2185560065 | 3220 | 0.00100000005 | 1 | 0.00100000005 | 0.100000001 | 0 | 110 | 1 | 1 | 120 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450043002D003200300030003700200020002000200020000000000000003041443730333430762F000030304330373934343030303030303030190008000000 | 050000000000484300005C4366463B440000CE440AD7233B